The following outlines the standards your property needs to meet to be acceptable for My Blackpool Home. These standards are made up of set regulations, service requirements and recommendations. Our criterion is that the property is safe, in good repair and has reasonably modern amenities.

Although the list may be extensive most of the requirements are standard within most modern properties, and some will not be applicable to the type of property you are letting.  If you have any concerns or want to clarify any details please contact us on 01253 477222 or email hello@myblackpoolhome.co.uk

## Decoration & finishes

Internal decoration must be in good condition,

In addition:

- Wall surfaces must be painted and/or papered.

- Painted surfaces must be clean and free from

obvious marking, dirt etc.

- Wood must be free from rot and painted to a

reasonable standard with gloss paint.

- Floor finishes must be sound, clean and free

from trip hazards, i.e. well secured and free from

rips and tears.

- Free from Asbestos (airing cupboards, chimneys etc).

## Contents and furnishing

Furniture and furnishing supplied in rental accommodation must comply with The Furniture and Furnishings (Fire) (Safety) Regulations 1988.

Some materials used to fill or cover furniture, particularly old and second hand furniture may be a fire risk and often produces poisonous gases when burning, such as cyanide or carbon monoxide.  For further information and details refer to The Furniture and Furnishings (Fire) (Safety) Regulations 1988.

We require the following:

- Curtains tracks or poles; or suitable fitting to each window.

- Suitable light shades fitted in all habitable rooms

and enclosed light fittings in bathrooms.

- Carpet to be in good condition with suitable underlay fitted in living rooms, bedrooms and circulation areas (hall and stairways). Carpets must be properly laid and secured. Impervious flooring properly fitted in kitchen and bathroom areas. Finish being non-slip.

## Windows

- Windows must be in good working condition

and open and shut properly.

- Fixed stays (restrictors) must be provided to all

windows above ground floor level to restrict

opening to 100mm maximum.

- Low level window glazing (less than 800mm

above finished floor level) must be impact

resistant. You can achieve this by replacing noncompliant glass with safety glass, applying

safety film or fixing permanent screen protection.

- All WC and bathroom windows without obscure glazing must be obscured with other window dressing (blind, curtain etc)

## Doors

- Doors shall be of suitable size with sufficient

headroom and shall open in the direction of travel                  into the room, where possible.

- Low level glazing (less than 1500mm above

finished floor level) must be impact resistant

(using safety glass or film).

- We recommend doorstops are fitted to protect walls from damage if necessary.

## Kitchen facilities

Kitchen units and appliances must be free from

defects and in good working order. In general, kitchen facilities shall be less than twenty years old. Kitchen facilities shall comprise:

A cooker/oven and grill (which will be suitably restrained, located and with splash back behind), or appropriate connection for fuel.  It is a legal regulation that to avoid burns and scolds cookers need to be enclosed with a work surface either side.

- A sink with integral drainer set on a 1000mm

base unit.

- Constant hot and cold water supplies over the

sink.  Able to maintain 60°C.

- A fixed impervious and readily cleansable work

surface (minimum 1000 x 600mm).

- An adequate tiled splash-back adjacent to the

sink unit and work surfaces.

- Sinks and worktops to be sealed around joints

with silicone sealant.

- A direct drainage connection to the sink with

suitable water trap.

- Waste pipes and taps to be defect free, no leaks

or drips. Taps to be easy to operate.

- Adequate storage cupboard units

(minimum 0.3 m3).

- A minimum of two double electrical sockets

provided above work surfaces (excluding

appliance sockets).

- Impervious type floor covering free from defects.

Plumbing/fittings must be provided to allow the installation of a washing machine, including a non-return valve fitted to the waste pipe.

## Bathroom and WC facilities

Bathroom facilities must be free from defects and in good working order and in general be less than

thirty years old. Sanitary facilities shall comprise:

- A fixed bath or shower and wash hand basin

with a constant supply of hot and cold water

and a direct drainage connection with suitable

trap. Minimum sizes: wash hand basin 500 x

400mm, bath 1700 x 700mm and shower 800 x

800mm.

- A water closet properly connected to the

drainage.

- Shower tiling of sufficient height to protect the

decoration of the wall (1.8m plus) properly

sealed, and a shower screen or curtain to be

supplied of a sufficient standard to prevent water

damage to floor.

- Tiled and sealed splash-backs (300 mm high) to

baths and wash hand basins.

- A towel rail and toilet paper holder.

- There must be adequate activity space adjacent to

facilities.

- Water closets must have an available wash hand basin located on the same floor.

- Bathrooms/WCs located off a kitchen must have a wash hand basin. Bathrooms shall not be accessed through bedrooms except for studio and one-bedroom flats where the bathroom is en suite.

## Staircases and balconies

- Stairs must not be too steep or excessively long.

- Steps must have level, even treads and provide

adequate friction. Open risers are not permitted.

- Staircases must have suitable handrails properly

constructed and fully supported. Handrail heights

shall be between 900-1000mm.

- Stairs and landings where the drop is in excess of

600mm must be guarded. The guarding must be

of adequate construction with maximum

openings of 100mm and designed to prevent

climbing. The height of the guarding shall be

900mm.

- Balconies must be properly constructed and

guarded. The guarding must be of adequate

construction with maximum openings of 100mm

and designed to prevent climbing. The height of

the guarding shall be 1100mm.

## Dampness

The premises must be free from dampness

prejudicial to the health of the occupants. This

includes rising damp, penetrating damp and

condensation.

## Ventilation

- Adequate permanent ventilation must be provided to all habitable rooms (a suitable open able window will achieve this).

- Adequate permanent ventilation is to be provided to kitchens and bathrooms - if there is no window, mechanical extract ventilation must be provided.

- We recommend humidistat controlled mechanical extractor fans are provided to kitchen

and bathroom locations.

## Lighting

Adequate natural and artificial lighting must be

provided to all habitable rooms, stairways,

circulation spaces and common parts.

## Heating and thermal comfort

An efficient heating system matched to the thermal capacity of the structure must be provided. Heating facilities shall comprise:

- Either full central heating, programmable heating or electric storage heaters.  There must be a fixed heating appliance or radiator in every room. Portable gas or electric heaters are not acceptable.

- Must be capable of maintaining 220C  in all habitable rooms and bathrooms when the external temperature is -20C.

- A wall-mounted convector heater must only act as a secondary form of heating and it must be connected to a fused spur.

- Where a new boiler is required, the installation shall meet the latest Band 'A' rating (high

efficiency boilers).  Efficient insulation means cavities insulated where present, a minimum of 100mm loft insulation if gas programmable central heating and 200mm loft insulation if electric storage heating.

- Where there is no loft insulation present, new insulation shall be fitted to comply with the Building Regulations, which currently require a thickness of approximately 250mm.

- All hot water cylinders must be properly insulated.

## Health and safety

If heating is provided by a district system all

distribution pipe-work must be boxed-in or suitably protected. The hot water supply system shall be such that heated water can be delivered at a temperature below 460C.

## Installations

- Installations for the supply of gas, electricity and

water must be in good repair and proper

working order.

- A gas safety test certificate must be provided

(Gas Safe).

- An EPC must be provided and gives a property an energy efficiency rating from A(most efficient) to G(least efficient) and is valid for 10 years.

- We recommend an electrical test is completed

for your own protection in accordance with NICEIC, NAPIT, ECA regulations’.

- Sufficient electrical sockets must be provided. As

a guide, the minimum number of sockets required  per room:

| Living room | 3 double sockets |
| --- | --- |
| Double bedrooms | 2 double sockets |
| Single bedrooms | 1 double socket |
| Kitchen | 2 double above work top height, plus low-level socket for fridge. Boiler to be on spur |
| Landing or hall | 1 socket |

- Where applicable the Landlords electrical supply shall be separately metered.

- We recommend that all properties are fitted with prepayment gas and electricity meters.  Meters must be accessible at all times.

- A mains supply of drinking water must be

provided to the kitchen sink.

- A water storage tanks must be properly housed,

insulated and covered.

## Space Standards

The permitted occupancy of the premises shall be

determined by the following space standard.

| Room Size | Occupancy Level (persons) |
| --- | --- |
| Under 6.5msq | none |
| 6.5 – 8.4msq | One |
| 8.4 – 10.2msq | One and one half |
| Over 10.2msq | two |

Housing Act 1985 Part X

(In this standard, living rooms, bathrooms and

kitchens are excluded, children under ten are

counted as half a person and persons aged ten and over are counted as one person)

## Fire safety

Flats and bedsits in converted houses or other

buildings must conform to certain standards of fire

protection. Such premises are classified as Houses in Multiple Occupation (HMOs), which means a

building (such as a flat) which is occupied by more

than one household, but for more details see the

Housing Act 2004 (section 254-260)

If the premises comprise an HMO there shall be adequate means of escape from fire and other fire precautions (see Blackpool Borough Council Housing Enforcement Team for HMOs standards

for further guidance tel: 01253 477477; Email: customer.first@blackpool.gov.uk).

As a minimum, the following requirements apply:

- For single dwellings a battery operated smoke detector must be fitted to the ceiling at each floor level of the dwelling circulation space. We would recommend for maximum protection that where possible a hard wired mains operated smoke detector be fitted (LD3 in accordance with LACORS)

- In houses converted into flats (HMO’s) a system of electronically operated interlinked fire detection is required by My Blackpool Home (LD2 in accordance with LACORS).

- A battery operated carbon monoxide

detector to be fitted where there is gas central

heating. We would recommend for maximum protection that where possible a hard wired mains operated detector be fitted.

- Flat entrance doors (within conversions) which

lead off the communal staircase MUST be

half-hour fire resistant (conforming to BS 476)

and fitted with suitable self-closing devices, intumescent strips and flexible edge some seals.

- Where applicable kitchens must have suitable doors fitted.

- All kitchens in HMO properties must be provided with suitably fixed fire blankets conforming to British Standards. We highly recommend the same for all properties for maximum safety precautions.

- We recommend the removal of polystyrene tile finishes on any surface especially in kitchens.

- To ensure escape in case of fire, deadlocks to

flat entrance doors are not acceptable,

but deadlocks with internal thumb-turns are

acceptable.

## Garden yard and access

- External yards, paths, steps and access-ways

must be in good order, even and well drained.

- For safety the presence of external lighting

should be considered where access is via a rear

alleyway/external stairs.

- There shall be no unguarded drops.

- All boundaries must be clearly defined and

enclosed by suitable walls or fences.

- For maximum safety we recommend that garden ponds are emptied and filled, or that fencing surrounds the pond to make them safe.

- Greenhouses must be in good condition with no broken or damaged panes. We would recommend for maximum safety and damage limitation you dismantled and remove the greenhouse.

- Handrail fitted to external steps.

- Garden sheds must be safe and in good order or

removed. If present, they must be clear and only have items for use by the occupant.

## Refuse

Adequate and suitable facilities must be provided, per household, for the storage and disposal of refuse (e.g. a dustbin and storage area for the same).

## Noise

Where there are excessive noise levels (e.g. by main road, rail lines, and adjacent noise producing commercial premises) noise insulation measures shall be provided e.g. double or secondary glazing. Noise reduction material between floor levels in HMO.

## Security

- Adequate external lighting must be provided.

- Access doors to premises must have adequate locks, and where applicable door chains and viewers.

- Windows in accessible locations must be provided with suitable window lock.

## Structure

- The roof, chimney stacks, ceilings, walls, floors,

stairs, windows, doors, rainwater goods, waste

goods, drainage and external decoration must be

in good repair and condition.

- Any common parts or shared access must be in

good repair and condition, including structure,

access-ways, security doors and lifts.

- Free from Asbestos (sheds etc)

Contact Details

My Blackpool Home

348-350 Lytham Road

Blackpool

FY4 1DW

01253 477222

Email: hello@myblackpool.home.co.uk

# Text boxes

My Blackpool Home Property Standards

Internal

Internal